## Slide 1: Corrections to H+ deflection and time of flight for an ideal parallel plate deflector using a real deflector simulated with SIMION
By Bret Polopolus
Thanks to Itzik Ben-Itzhak and Bishwanath Gaire
Supported by the Chemical Sciences, Geosciences, and Biosciences Division,
Office of Basic Energy Sciences, Office of Science, U.S. Department of Energy
J.R. Macdonald Laboratory, Physics Department, Kansas State University, Manhattan, Kansas 66506
This work was partially funded under NSF grant number PHY-0851599

## Slide 2: Overview
A molecular ion beam is sent toward a detector
The laser interacts with the ion beam dissociating
  H2+ → H + H+
The particles move through a parallel plate deflector to separate their detection

## Slide 3
Geometry
  Plate Length L = 64 mm
  Plate separation d = 30 mm
  Detector’s distance from plates z = 668 mm,
  Distance from interaction to detection l = 944 mm
Ideal Parallel Plate Deflector
Real Parallel Plate Deflector

## Slide 4
ẑ
ŷ
x
Ion Beam is run with an energy of 3-8 keV
Without a deflector
Fragments with a low Kinetic Energy Release (KER)
are lost in the faraday cup

## Slide 5
Low KER fragments are lost into the faraday cup
O2+ dissociation
40 fs laser
0.075

## Slide 6
What is the deflection with yi = 0 and vyi = 0?
Equation for deflection
Slope with our geometry
qV/E is a useful scaling factor between the beam and the defelctor

## Slide 8
ẑ
ŷ
x

## Slide 9
Correction factor: ratio of real slope simulated in SIMION to ideal slope
896.63/746.67 = 1.20

## Slide 10: What can we conclude?
Modified ideal equation:
Correction factor seems independent of detector position and likely the result of the fringing electric field:

## Slide 11: Effect of varying initial position

## Slide 12: Deflection along y axis by real deflector with z = 668 mm simulated in SIMION
Worst Case Scenario
Deflection spread
for qV/E = 0.04
±0.04 mm, which is o.11%
Resolution requirement
0.1 mm

## Slide 13: Result
Largest δy was about 0.0408 mm for qV/E = 0.04
Resolution limit on distinguishing deflections:
              δy ≥ 0.1 mm
qV/E = 0.0632 → δy = 0.1014
      Irrelevant because proton would miss 40 mm detector
Conclusion:
    no need to modify the ideal equation for initial position
    nor run SIMION for every variation

## Slide 14: Effect of varying initial transverse velocity, vyi

## Slide 15
Ideal equation
Worst Case Scenario
Deflection spread about ±40 mm
t is not constant

## Slide 17: Result
y intercept is
Expectation: identical slopes for same qV/E
    Not the case
    Explanation → vyi and time of flight are coupled
    Time of flight is not constant!
    Use tsimion instead of tideal

## Slide 18: Time of Flight (TOF) yi = 0 and vyi = 0

## Slide 19
The Ideal TOF
tsimion ≠ tideal

## Slide 20
x = qV/E
Resolution Requirement
25 ps

## Slide 21: TOF dependence on initial position along y-axis, yi

## Slide 22
Resolution Requirement
25 ps
Spread ≈ ±71 ps

## Slide 23: TOF dependence on initial y-velocity, vyi

## Slide 29: Summary

## Slide 30
Deflection yi = 0
    no modification
vyi and time of flight are coupled
x = qV/E
yi ≠ 0 after y = 0 correction error is reduced to about ± 71 ps
vyi ≠ 0 introduces an error of up to 2 ns
TOF correction for yi = 0, vyi = 0
vyi ≠ 0, Deflection spread about ±40 mm
Deflection spread
±0.04 mm

## Slide 31: Future Directions
Imaging
Rewrite equations to reconstruct vyi
Simulations of vyi directed away from the detector should be run