## Slide 1: Calibrating for Light backscatter from fractal aggregates

## Slide 2: Why?
[1]

## Slide 3: The source
Spherical Liquid Water Droplet Aerosol (m=1.33)

## Slide 4: Backscatter Setup
Laser (λ= 633nm)
CCD Detector
Aerosol Target
Beam splitter
Beam Dump

## Slide 5: Results
Angle (˚)
Intensity (arbitrary units)

## Slide 6: Sizing: forward scattering
Mie ripples, but polydispersity wipes them out
Guinier regime: θ~λ/(πd)
Laser (λ= 633nm)
CCD Detector
Polarizers
Lens
Iris
Aerosol Target
Mirror

## Slide 8: Results

## Slide 9: Final Results
Backscatter suggests smaller size: ~1.5µm
Forward scattering suggests bigger size: ~6µm
DLS suggests mid-range size: ~2.5-4µm
Very likely polydisperse.
Backscatter apparatus likely works, but needs more testing.

## Slide 10: Reference
[1]"Contribution of Working Group I to the Fourth Assessment Report of the Intergovernmental Panel on Climate Change, 2007." IPCC - Intergovernmental Panel on Climate Change. Ed. S. Soloman, D. Qin, M.Manning, and Z. Chen. Internation Panel on Climate Change. Web. 09 Nov. 2011.